1.计划建议书 planning proposals

2.设计任务书 design order

3.标准规范standards and codes

4.条件图 information drawing

5.设计基础资料 basic data for design

6.原始资料 original data

7.方案 scheme, draft

8.草图 sketch

9.会谈纪要summary of discussion

10.可行性研究 feasibility study

11.初步设计 preliminary design

12.基础设计 basic design

13.详细设计 detail design

14.日照 sunshine

15.雷击及闪电 thunder and lightning

16.台风 typhoon

17.降雨强度rainfall intensity

18.冰冻期 frost period

19.采暖地区 region with heating provision

20.不采暖地区region without heating provision

21.办公室 office

22.服务用房 service room

23.换班室 shift room

24.休息室 rest room (break room)

25.起居室 living room

26.浴室 bathroom

27.淋浴间 shower

28.更衣室 locker room

29.厕所 lavatory

30.门厅 lobby

31.诊室 clinic

32.工作间 workshop

33.电气开关室 switchroom

34.走廊 corridor

35.档案室 archive

36.电梯机房 lift motor room

37.车库 garage

38.清洁间 cleaning room

39.会议室(正式) conference room

40.会议室 meeting room

41.衣柜间 ward robe

42.暖风间 H.V.A.C room

43.饭店 restaurant

44.餐厅 canteen, dining room

45.厨房 kitchen

46.入口 entrance

47.接待处 reception area

48.会计室 accountant room

49.秘书室 secretary room

50.电气室 electrical room

51.控制室 control room

52.工长室 foreman office

53.开关柜室 switch gear

54.生产区 production area

55.马达控制中心 Mcc

56.多功能用房 utility room

57.化验室 laboratory room

58.经理室 manager room

59.披 屋(阁楼) penthouse

60.警卫室 guard house

61.女儿墙 parapet

62.雨蓬 canopy

63.屋脊 roof ridge

64.坡度 slope

65.坡跨比 pitch

66.分水线 water-shed

67.附加油毡一层 extra ply of felt

68.檐口 eave

69.挑檐 overhanging eave

70.檐沟 eave gutter

71.平屋面 flat roof

72.坡屋面 pitched roof

73.雨水管downspout, rain water pipe)(R.W.P)

74.内排水 interior drainage

75.外排水 exterior drainage

76.滴水 drip

77.屋面排水 roof drainage

78.找平层 leveling course

79.卷材屋面 built-up roofing

80.天棚 ceiling

81.檩条 purlin

82.屋面板 roofing board

83.天花板 ceiling board

84.防水层 water-proof course

85.吊顶 suspended ceiling, false ceiling

86.砖墙 brick wall

87.砌块墙 block wall

88.清水砖墙 brick wall without plastering

89.抹灰墙 rendered wall

90.石膏板墙 gypsum board, plaster board

91.空心砖墙 hollow brick wall

92.承重墙 bearing wall

93.外墙 external (exterior) wall

94.内墙 internal (interior) wall

95.填充墙 filler wall

96.防火墙 fire wall

97.空心墙 cavity wall

98.压顶 coping

99.防潮层 damp-proof course (D.P.C)

100.阳台 balcony

101.地坪 grade

102.地面和楼面 ground and floor

103.素土夯实 rammed earth

104.炉渣夯实 tamped cinder

105.填土 filled earth

106.混凝土地面 concrete floor

107.水泥地面 cement floor

108.水磨石地面 terrazzo flooring

109.瓷砖地面 ceramic tile flooring

110.集水沟 gully

111.排水沟 drainage trench

112.电缆沟 cable trench

113.木 (钢)门 wooden (steel) door

114.夹板门 plywood door

115.铝合金门 aluminum alloy door

116.卷帘门 roller shutter door

117.弹簧门 swing door

118.推拉门 sliding door

119.平开门 side-hung door

120.折叠门 folding door

121.旋转门 revolving door

122.玻璃门 glazed door

123.密闭门 air-Tight door

124.保温门 thermal insulating door

125.门框 door frame

126.门扇 door leaf

127.门洞 door opening

128.单扇门 single door

129.双扇门 double door

130.疏散门 emergency door

131.纱门 screen door

132.门槛 door sill

133.木窗 wooden window

134.钢窗 steel window

135.铝合金窗 aluminum alloy window

136.塑钢窗 plastic steel window

137.推拉窗 sliding window

138.气窗 transom

139.天窗 skylight

140.窗扇 casement sash

141.窗台 window sill

142.窗帘盒 curtain box

143.合页(铰链) hinge (butts)

144.插销 bolt

145.门锁 door lock

146.拉手 pull

147.楼梯 stair

148.楼梯间 staircase

149.疏散梯 emergency stair

150.旋转梯 spiral stair (circular stair)

151.踏步 step

152.防滑条 non-slip insert (strips)

153.栏杆 railing (balustrade)

154.平台栏杆 platform railing

155.扶手 handrail

156.平台 landing (platform)

157.楼梯平台 stair landing

158.客梯 passenger lift

159.货梯 goods lift

160.客/货两用梯 goods/passenger lift

161.液压电梯 hydraulic lift

162.自动扶梯 escalator

163.观光电梯 observation elevator

164.电梯机房 lift mortar room

165.电梯坑 lift pit

166.电梯井道 lift shaft

167.砖和瓦Bricks and Tiles

68.红砖 red brick

169.粘土砖 clay brick

170.瓷砖 glazed brick (ceramic tile)

171.防火砖 fire brick

172.空心砖 hollow brick

173.面砖 facing brick

174.地板砖 flooring tile

175.琉璃瓦 glazed tile

176.石棉瓦 asbestos tile (shingle)

177.石膏 gypsum

178.大理石 marble

179.汉白玉 white marble

180.花岗岩 granite

181.粗砂 course sand

182.中砂 medium sand

183.细砂 fine sand

184.硅酸盐水泥 silicate cement

185.白水泥 white cement

186.水泥砂浆 cement mortar

187.石灰砂浆 lime mortar

188.保温砂浆 thermal mortar

189.防水砂浆 water-proof mortar

190.沥青砂浆 bituminous mortar

191.灰缝 mortar joint

192.钢筋混凝土 reinforced concrete

193.轻质混凝土 lightweight concrete

194.细石混凝土 fine aggregate concrete

195.沥青混凝土 asphalt concrete

196.泡沫混凝土 foamed concrete

197.炉渣混凝土 cinder concrete

198.水刷石 granitic plaster

199.刷浆 lime wash

200.大白浆 white wash

201.麻刀灰打底 hemp cuts and lime as base

202.板条抹灰 lath and plaster

203.沥青卷材 asphalt felt

204.沥青填料 asphalt filler

205.沥青胶泥 asphalt grout

206.冷底子油 adhesive bitumen primer

207.石棉板 asbestos sheet

208.石棉纤维 asbestos fiber

209.原木 log

210.圆木 round timber

211.方木 square timber

212.板材 plank

213.木条 batten

214.板条 lath

215.木板 board

216.红松 red pine

217.白松 white pine

218.落叶松 deciduous pine

219.云杉 spruce

220.柏木 cypress

221.白杨 white poplar

222.桦木 birch

223.冷杉 fir

224.栎木 oak

225.榴木 willow

226.榆木 elm

227.杉木 cedar

228.柚木 teak

229.樟木 camphor wood

230.胶合板 plywood

231.三(五)合板 3(5)-plywood

232.层夹板 laminated plank

233.纤维板 fiber-board

234.竹子 bamboo

235.圆钢 steelbBar

236.方钢 square steel

237.扁钢 steel atrap

238.型钢 steel section (shape)

239.槽钢 channel

240.角钢 angle steel

241.等边角钢 equal-leg angle

242.工字钢 I-beam

243.热轧 hot-rolled

244.冷轧 cold-rolled

245.冷拉 cold-drawn

246.冷压 cold-pressed

247.合金钢 alloy steel

248.钛合金 titanium alloy

249.不锈钢 stainless steel

250.钢板 steel plate